| PES Log Book (Record of Checks and Tests) | IATG Form 06.70A |
| --- | --- |
| Items 1 to 18 & 21 to 25 insert ( if correct or X if incorrect. Items 19 to 20 insert ( when carried out. | Year: |  | PES: |  |
|  | J | F | M | A | M | J | J | A | S | O | N | D |
| 1 | State of repair |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | Cleanliness |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | Dampness |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | Windows |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 | Drains, gutters etc |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 | Heating/ventilation/air conditioning |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 | Condition of traverses |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 | Locks, key labelling |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 | Explosives stored (ELL and CG) |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 | Marking/sealing of packaging |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 | Fire appliances and check dates |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 | Fire symbols |  |  |  |  |  |  |  |  |  |  |  |  |
| 13 | Vegetation control |  |  |  |  |  |  |  |  |  |  |  |  |
| 14 | ELL displayed and safety posters |  |  |  |  |  |  |  |  |  |  |  |  |
| 15 | Lifting equipment check and certification |  |  |  |  |  |  |  |  |  |  |  |  |
| 16 | Electrical installations |  |  |  |  |  |  |  |  |  |  |  |  |
| 17 | Lightning protection systems |  |  |  |  |  |  |  |  |  |  |  |  |
| 18 | Conducting/ant-static floor and HAPTM |  |  |  |  |  |  |  |  |  |  |  |  |
| 19 | Fire practice |  |  |  |  |  |  |  |  |  |  |  |  |
| 20 | Evacuation drill |  |  |  |  |  |  |  |  |  |  |  |  |
| 21 | Incident/accident reporting |  |  |  |  |  |  |  |  |  |  |  |  |
| 22 | Designated smoking area |  |  |  |  |  |  |  |  |  |  |  |  |
| 23 | Empty box areas |  |  |  |  |  |  |  |  |  |  |  |  |
| 24 | Outstanding defects |  |  |  |  |  |  |  |  |  |  |  |  |
| 25 | Documentation |  |  |  |  |  |  |  |  |  |  |  |  |
| 26 | Additional –separate report |  |  |  |  |  |  |  |  |  |  |  |  |
| Initials: |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: |  |  |  |  |  |  |  |  |  |  |  |  |
| Head of Establishment Signature (3 Monthly Check). |  |  |  |  |
| Date: |  |  |  |  |

Notes:

| 1 | State of repair | Check the security fence and security lights for damage and corrosion, the building structure for any damage, the state of paint work, and all attachments and fittings for damage and corrosion. Check roads and rail sidings for damage/pitting, rubble, etc and general storm damage. Check if doors are serviceable? Check if designated areas are suitably demarcated. |
| --- | --- | --- |
| 2 | Cleanliness | Check the PES and its adjacent area is clean, tidy and free from wind blown combustible material. Check packaging materials been removed or correctly temporarily stacked so as not to present a fire risk. Check that empty boxes, seals, locking wire have been removed. Ensure that flammable liquids, rags, waste paper etc have not been left exposed. Check for accumulations of explosives dust on machinery, gravity rollers etc, Ensure there are separate bins for ferrous & non-ferrous waste. Ensure that a doormat is present and is serviceable. |
| 3 | Dampness | Check all buildings internally and externally for damp patches. Check if the roof, especially the eaves, is free from mould and fungus. Check if there any water erosion marks especially near any electrical fittings. Ensure the floor area is free from water/condensation. Check if there is damage to the fabric of building that allows ingression of water. |
| 4 | Windows | Is the glass of an acceptable safety standard? Ensure all stacks are clear of the windows and that sunlight does impinge on the explosive stores. Check if guard bars are fitted, are serviceable, are free from corrosion and are correctly grouted to the window frames. Check if the glass is free from cracks and if cracked are they protectively covered by tape to prevent ingress of moisture pending repair? |
| 5 | Drains, gutters etc | Ensure that the buildings drains and gutters are secure and undamaged, free of grass cuttings, leaves, wind-blown foliage and paper and that drains are clear and free from restrictions. Check drains and drain covers in roads, etc, for damage. |
| 6 | Heating/ventilation/air conditioning | Check if ventilators are normally left open. Ensure ventilators are free from corrosion and that they open and close properly. Check if they require protective painting, oiling or greasing. Check if they have thermal links or an automatic closing device and if these are they serviceable. Check for the presence of hygrometers, max-min thermometers and if they are serviceable? Check if any data-loggers are present and if they are approved and serviceable. Check if humidity and temperature readings are recorded. Ensure that any heating and air conditioning is operative. Ensure radiators have sloped guards. |
| 7 | Condition of traverses | External – check that they are effective. Check for rabbit holes, mole hills and subsidy. Check if any areas require bracing up, need holes filling or grass renewing. Internal – check they are serviceable and are at the correct distances from stacks and walls. |
| 8 | Locks, key labelling | Check each bunch for serviceable keys. Check if the are they worn and have they been mustered and rotated with the duplicate/triplicate sets. Ensure locks and padlocks are of an approved pattern, are serviceable, have hasps that are free from corrosion, and that they function properly. Check if the locks require lubrication. Ensure that all key bunches are correctly labelled and that individual keys are identifiable. |
| 9 | Explosives stored (ELL and CG) | Check mixing of CGs. Ensure that the appropriate instructions and safety precautions for each type of store stacking system are present and carried out. Ensure that stack cards, pallet and ULC labels correctly identify the make, date, BKI/lot and quantity of each type of ammunition. Ensure ACTO stores are regularly stock checked. Check that constrained and banned/black listed stores are correctly labelled and segregated. Check that all unsealed boxes are clearly marked with their remaining quantity, type and lot number (if different from the original markings). Ensure EOD recoveries are correctly packaged and stored. Carry out a percentage physical check of packaged and unpackaged stores to check for damage, dampness and corrosion. Ensure no empty packages are present. Check that the correct tools, equipment and first aid kits are available where CG H and Gaseous Tritium Light Sources (GTLS) are present. Ensure that non-palletised stores are on battens or racking. Check gangways and spacing from PES structure are in place and comply with regulations. Ensure that approved tool lists, safety instructions for the operation of machinery and work schedules are in place in process facilities. |
| 10 | Marking/sealing of packaging | Ensure explosives packages are correctly sealed, labelled with their contents and display and HCC symbol, UN serial number and other markings required by the national authority. Ensure that the correct packaging has been used. Check that fraction packages have been marked as such. Check if sufficient dunnage is present. |
| 11 | Fire appliances and check dates | Ensure that EWS are full, clear and free from wind blown debris. Ensure FAFFA, to the appropriate scale, are correctly positioned at each building and that they are serviceable. Check that fire appliances areas are clearly marked and painted. Ensure protective boxes are serviceable. Check for storm damage, water leaks and defective connectors. Check if appliances have recently been functionally checked and certificates are up to date. Check that fire beaters are serviceable, are that there are a sufficient number. Check that the pre-fire plan is up to date. Check that fire alarm systems are maintained, tested and that the results are logged. |
| 12 | Fire symbols | Ensure fire division signs and supplementary fire signs, are prominently displayed, legible and serviceable. Ensure that they correctly interpret the hazard of the stored items. Check that the fire section and local fire brigade have been informed of any major stock change hazards. Check that the fire section and local fire brigade are informed when overnight storage areas are in use and are aware of the associated fire hazard. |
| 13 | Vegetation control | Ensure 1m sterile areas round each PES (except earth covered) are clear of grass, foliage, shrubbery, gorse and heather. Check that grassed areas are sufficiently mown and all grass cuttings are removed. |
| 14 | ELL displayed and safety posters | Check that ELL and mandatory safety posters are displayed. Ensure that all contents are authorised to be stored in the PES and that NEQs present do not exceed the authorised limits. Ensure that all tools, equipment and cleaning utensils are correctly listed and authorised. Check that actions in event of a fire poster are present and correct. Check for any special conditions on license and that these conditions are being obeyed. Check that first aid posters are present and that first aid kits are serviceable. |
| 15 | Lifting equipment check and certification | Check all chains and cables for damage and corrosion and ensure that they are lightly lubricated. Carry out a functional check ensuring that the hoist runways have no restrictions and the raising/lowering mechanisms function correctly. Check the hoist has had a mechanical/electrical inspection within the prescribed periodicity and that the results are recorded. |
| 16 | Electrical installations | Ensure the standard of electrical installation is shown by wall plate mounted adjacent to master switch. Ensure the power on lights is operative. Physically check all lights/luminaires, IDS alarms, fire alarms, telephones, power supply lines/conduit, switches and electrical switch boxes for corrosion, security of fitment, storm damage, etc. Check all lighting and telephones for correct functioning. Ensure electrical tests results are supplied, are current and the results are entered on reverse of the PES inspection record sheet. Check that RCD and Earth Leakage Circuit Breaker checks are carried out, Check that electrical powered appliances, leads and earthing cables are registered and that they received their periodic check and can they be easily and quickly promptly identified. Ensure power plugs and sockets are clearly marked for the correct electrical potential? Ensure that they are stored neatly when not in use. Check the periodicity of public address systems tests. |
| 17 | Lightning protection systems (LPS) | Look for evidence of lightning strikes. Check for integrity of electrical bonding, above and below each switch box, to the air terminals and the ground terminals and to all doors when open and closed. Ensure all internal bonding is properly connected to benches, structures, earth points and electrical hoists. Ensure the LPS test is current and that test results are supplied and logged. |
| 18 | Conducting/ant-static floor and HAPTM | Ensure floors been electrically (resistance) checked and the results recorded. Check that the floors are free from cracks, large indentations, excessive wear marks, oil and grease. Ensure that a cleaning regime is in place and used. Ensure that any HAPTM present is serviceable and checked and the results recorded. |
| 19 | Fire practices and evacuation drills | Check that fire practices and evacuation drills are recorded on the reverse of the inspection record sheet and that post-drill recommendations have been implemented. |
| 20 | Incident/accident reporting | Check that mechanisms are in place for reporting incidents and accidents and that staff are aware of these procedures and follow them. |
| 21 | Designated smoking area | Check that the area in use is authorized, that the ash trays are kept clean and cigarette ends are at a minimum, and that all lighting material is of the authorized type. |
| 22 | Empty box areas | Empty box compounds are potentially a fire hazard area. Check for poor stacking, over stacking, untidy areas of boxes and furnishings, loose paints, oils, lubricants, labels and fabrics. Ensure that there are sufficient fire appliances. Check if an excess of wooden boxes are being stored. Check all UN markings, HCC labels etc have been removed or obliterated. Ensure CFFE sealed boxes are physically separated from empty boxes or other items awaiting CFFE. |
| 23 | Outstanding defects | Check each area/PES record of defects. Check if an outstanding defect is getting worse, becoming a safety hazard, has been repaired to an unacceptable level, or is outstanding for too long. |
| 24 | Documentation | Ensure that the items on the inspection record sheet have been correctly ticked when acceptable and have been red cross marked when defective or are otherwise unsatisfactory. Ensure that all defective items have been reported and recorded on the record of defects on the rear of the inspection record sheet. Check that all periodic tests have been recorded and any fire or escape drills annotated on rear of inspection record sheet. |

# Footnotes

Hazardous Area Personnel Test Meter.

Hazardous Area Personnel Test Metre